+

-

+

-

(Optional)

BATTERY

BACK-UP

1

3

2

4

6

5

7

9

8

10

12

11

Notes:

1. Power Cord - Provided w/ wall plug connector and 8 Ft. 3 conductor wire.

2. Optional Audible Alarm factory wired.  Remote Audible and Visual Alarms

must be 120VAC and connected to terminal in Junction Box.

3.  Sensor Cable Use, 3 conductor 18 or 20ga. w/ foil shield.

4. Analog Outputs are either 0 - 5VDC or 0 - 10VDC.

8’ Cable w/ DIN Plug in Connector

Notes:

1.  Power Cord - Provided w/ wall plug connector and 8 Ft. 3 conductor wire for Haloguard Controller  and

External DC Power Supply for Remote Display.

2.  Audible and Visual Alarm (Optional) factory wired.  Remote Audible and Visual Alarms

must be 120VAC and connected to terminal Strip on Lower Circuit Board.

3.  Sensor Cable between Haloguard IR Controller and Remote Display - Maximum Length 1000FT. Use,

3 conductor 18 or 20ga. w/ foil shield.

Figure 14- Haloguard IR Controller and (Optional) Remote Display Wiring Diagram

Lower Circuit Board

ANALOG OUTPUTS

TO BAS OR OTHER

Haloguard IR  Controller

Upper Circuit Board

(OPTIONAL)

AUDIBLE ALARM

Plug in Molex Connector

+  A  +  L

See Chart for Connection

S G

Plug in Molex Connector

ALARM

1

FAULT

ALARM

2

(OPTIONAL)

STROBE ALARM

12VDC

(3)Cable to

IR Sensor Module

Plug in DIN Connector

Remote Display

Upper Circuit Board

(OPTIONAL)

AUDIBLE ALARM

+   A

+V S G

S G

Green

Line Cord

115 VAC 50/60Hz.

AC HOT

AC COMMON

GROUND

G

N

L

White

Black

OFFSCALE

(Optional)

BATTERY

BACK-UP

To Haloguard

IR Controller

Plug in DIN Connector

External DC

Power Supply (Provided by TGS)

+V S G

To (Optional) Remote Display

Plug in DIN Connector

(OPTIONAL)

STROBE ALARM

12VDC

+  L

Plug in Molex Connector