Haloguard III Refrigerant Monitor

Wiring Diagram

CELL COVER

DRAW PUMP

(UNDER PC BOARD)

CAUTION

Do not remove this cover

Trained service personnel only

No user serviceable components inside

CONNECTORS

3      4      5      6     7      8

LCD DISPLAY

8-PORT SCANNER BLOCK

1      2      3      4      5      6      7      8

INLET PORTS

AIR FILTER

TEST SAMPLE

INLET TUBE

RELAY

RELAY

RELAY

RELAY

OPTIONAL RELAYS

WHITE

GREEN

BLACK

LINE CORD

120/ 250 VAC 50/ 60 HZ

TERMINALS FOR EXTERNAL DEVICE

(NOT FUSED)

EXHAUST

OXYGEN SENSOR CONNECTIONS

(OPTIONAL)

ANALOG OUT

(OPTIONAL)

IR

REMOTE MODULE CONNECTIONS

(OPTIONAL)

WHITE

BLACK

RED

WHITE

BLACK

RED

CONNECTOR 1