HALOGUARD

SYSTEM LAYOUT

Maximum extension 300 FT. Use min.18 ga

3 cond.w/foil shield

Haloguard

Controller

Line Cord

120 VAC

50/60Hz.

8’ Cable w/ DIN plug provided

POWER      OFF SCALE

FAULT           ALARM 2

TEST              ALARM 1

PPM

Reset Button

Outputs

(4) Relay Contacts

(1)  0 - 5 VDC or 4-20mA

Locate sensor

18-24” AFF