To: 									Date:

AT:

FAX:

From:

Subject:    Haloguard  Model 					             S/N

Message:	Please provide the following information so that we may determine the solution to your problem.

1- Describe the problem:

LCD Brightness

Adjustment

RUN

GAS

ALARM

ZERO

SPAN

AUD

J5

ANALOG

VOLT

mA

I

C

Offscale LED

Alarm 2 LED

Alarm 1 LED

Power LED

Fault LED

Test Button

CMOS

Trim

Analog Trim Pot

0-5 or 0-10 VDC

UP

ENTER

DOWN

Sensor

Connection

Reset Button

Figure 2 - Haloguard  Controller Upper Circuit Board

Setup Jumpers

Analog Output Jumper

Micro

2-	Remove clear cover and faceplate. Refer to figure 2, record jumper settings.

| RUN | GAS | ALARM | ZERO | SPAN | J5 | AUD |
| --- | --- | --- | --- | --- | --- | --- |
| ON | ON | ON | ON | ON | ON | ON |
| OFF | OFF | OFF | OFF | OFF | OFF | OFF |

Move jumper to ALARM position, record alarm 1 and alarm  2  values.______________ _____________________________________________________________________

Move jumper to J5 position, record information displayed._______________________

3- 	Refer to Figure 3.   Indicate where connections have been made  ________________

____________________________________________________________________________

Figure 3 - Haloguard Controller Lower Circuit Board

1      2      3

4      5      6

10     11    12

7      8      9

ALARM 1

FAULT

OFFSCALE

ALARM 2

4-  Refer to Figure 2.	Advise status of all the LEDs :__________________________

5- Refer to Figure 4. Observe LCD and provide information displayed._____________

__________________________________________________________________

6- Using Figure 2 as a guide, measure voltage between SIG and GND; also, between VDC and GND. Record values to the nearest millivolt (0.001V).

| CHANNEL |  |
| --- | --- |
| VDC & GND |  |
| SIG & GND |  |