+

-

(Optional)

BATTERY

BACK-UP

1

3

2

4

6

5

7

9

8

10

12

11

2

3

4

5

6

7

8

9

10

11

12

ALARM

1

FAULT

OFFSCALE

ALARM

2

Notes:

1.  Power Cord - Provided w/ wall plug connector and 8 Ft. 3 conductor wire.

2.  Audible and Visual Alarm (Optional) factory wired.  Remote Audible and Visual Alarms

must be 120VAC and connected to terminal Strip on Lower Circuit Board.

3.  Sensor Cable between Haloguard Controller and CMOS Sensor - Maximum Length 300FT. Use

3 conductor 18 or 20ga. w/ foil shield.

4.  Analog Outputs (Optional) are either 0 - 5VDC, 0 - 10VDC, or 4 - 20mA.

Lower Circuit Board

ANALOG OUTPUTS

TO BAS OR OTHER

+V S G

Haloguard  Controller

+  A  +  S

See Chart for Connection

Plug in Molex Connector

Cable Color Code

White - S     Signal

Black - G     Ground

Red -  +V     7.5 VDC

Green

Line Cord

115 VAC 50/60Hz.

AC HOT

ACCOMMON

GROUND

G

N

L

White

Black

WARNING

Analog output lines must not be connected to any kind of voltage or current source, serious damage will result.

8’ Cable w/ DIN Plug in Connector

See notes below for cable extension.

(OPTIONAL) STROBE  LIGHT

(OPTIONAL)

AUDIBLE ALARM