To: 									Date:

AT:

FAX:

From:

Subject:  Haloguard II Model 						S/N

Message:	Please provide the following information so that we may determine the solution to your problem.

1- Describe the problem:

2- Refer to Figure 5.   Observe the LCD.  Provide information from each screen as it scrolls.

3-	Advise status of all the LEDs on the faceplate:

4-	Remove the faceplate; Using Figure 2 as a guide, circle which positions have jumpers installed JP-1 thru JP-9.

| JP-1 | JP-2 | JP-3 | JP-4 | JP-5 | JP-6 | JP-7 | JP-8 | JP-9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ON | ON | ON | ON | ON | ON | ON | ON | ON |
| OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF |

5-Using Figure 2 as a guide put jumper on JP5, record  information displayed for each screen

__________________________________________________________________________

__________________________________________________________________________

Figure 2 - Haloguard II Controller Upper Circuit Board

RUN

GAS

ALARM

ZERO

SPAN

AUD

J5

UP

ENTER

DOWN

AN1

AN2

AN3

AN4

BRIGHTNESS

JP9

RESET

MAN

ZERO

TEST

RESET

FAULT

JP1

JP2

JP3

JP4

JP5

JP6

JP7

JP8

POWER

LOW

HIGH

MICROPROCESSOR

DISPLAY

LED

PUSH-BUTTON

OFF SCALE

T1  T2  T3

T1  T2  T3

T1  T2  T3

T1  T2  T3

T1  T2  T3

T1  T2  T3

Figure 3 - Lower Circuit Board

6-	Using Figure 3 as a guide, measure voltage between +V and GND, also between SIG and GND.  at terminals T1 thru T3.  Record values to the nearest millivolt (0.001Vdc) for each sensor.  Record alarm jumper settings.

| CHANNEL | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| +V & GND |  |  |  |  |  |  |
| SIG & GND |  |  |  |  |  |  |
| Low Alarm |  |  |  |  |  |  |
| High Alarm |  |  |  |  |  |  |

7-	Remove the Junction Box cover. Using Figure 4 as a guide advise wire terminations.

Figure 4 - Junction Box Relay

The complete instruction manual may be helpful.  If a copy is requried, please let me know.