HALOGUARD IR

SYSTEM LAYOUT

Sample Inlet

1 inlet Std.

2,4,8 inlet Opt

Inlet can be extended 300’ using 0.125”  tubing. All lines must have end of line filter.

Remote Reset In

Analog/ Digital Output

4-20mA, 0-5VDC

RS 232/485 serial Opt.

Relay/Binary Output

4x5A. dry contact Std

7x10A. dry contact Opt.

Power In

120/230Vac

50/60Hz

Reset/Silence

Pushbutton

Manual Scan Pushbutton

Sample

Outlet

Enclosure is 12” x 14” x 6” ; NEMA 12/4 rated

LCD

Local Strobe Alarm-Opt.

Local Audible alarm-Opt.

Mounting Holes (4)